2010 Consumer Confidence Report

Water Test Results

Contaminant	Date	 Results	  MCL	MCLG   	 Source

Microbiological

TOTAL COLIFORM  (1)                  	     2010                     0  pos	                  1  pos	     0  pos	 Naturally present in the environment.

Inorganics

ARSENIC (2)                                       9/11/2008         1.2 ppb                      10 ppb           0 ppb	 Erosion of natural deposits. Runoff from orchards,

glass and electronics production wastes.

BARIUM                                                  09/11/2008	       0.006  ppm	                      2  ppm            2  ppm       Discharge of drilling wastes. Discharge from metal refineries.

Erosion of natural deposits.

CHROMIUM                                             9/11/2008            2.7 ppb                        100 ppb           100 ppb     Discharge of steel and pulp mills. Erosion of natural deposits.

COPPER 90TH % VALUE  (4)      01/1/06-12/31/08	  0.4  ppm	 AL=1.3  ppm	1.3  ppm	 Corrosion of household plumbing systems.

FLUORIDE  (3)                                      5/13/2010         1.4  ppm                     4  ppm	       4  ppm	 Erosion of natural deposits.  Water additive which

promotes strong teeth.  Discharge from fertilizer and

aluminum factories

Disinfection and Disinfection By-Products

Total Trihalomethanes	RAA(2008)         33.6 ppb		80 ppb	  0 ppb          By-product of drinking water chlorination.

(THHM) (9)

TOTAL HALOACETIC  ACIDS	RAA(2008)	      14 ppb                        60 ppb            0 ppb         By-product of drinking water chlorination.

(HAA5) (9)

Radionuclides

GROSS ALPHA SCREEN  (6)	05/04/2006	0.443  pCi/l	           15  pCi/l	   0  pCi/l	 Erosion of natural deposits.

CHLORINE RESIDENTUAL   RAA	 0.22 ppm   Range (0.03– 0.46 ppm)  MRDL=4.0 ppm	  MRDLG=4 ppm    By-product of drinking water chlorination

Definitions:

Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.

Running Annual Average (RAA): The Average of all monthly or quarterly samples for the last year at all sample locations.

Action Level (AL): The concentration of a contaminant that, if exceeded, triggers treatment or other requirements that a water system must follow.

Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary

for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the

benefits of the use of the use of disinfectants to control  microbial contaminants.

Treatment Technique (TT): The required process intended to reduce the level of a contaminant in drinking water.

Units:

ppm = parts per million or milligrams per liter (mg/L).                                       pos = positive samples.

ppb = parts per billion or micrograms per liter (µg/L).                                       ntu = nephelometric turbidity units.

pCi/L = picocuries per liter (a measure of radioactivity).

Notes:

1) Total Coliform Bacteria: Reported as the highest monthly number of positive samples, for water systems that take < 40 samples per month.

2) Arsenic: The U.S. EPA adopted the new MCL standard in October 2001.  Water systems must meet this new standard by January 2006.

3) Fluoride: Fluoride levels must be maintained between 1-2 ppm, for those water systems that fluoridate the water.

4) Lead/Copper: Action levels (AL) are measured at consumer’s tap.  90% of the tests must be equal to or below the action level.

5) Nitrate:  Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age.  High nitrate levels in drinking water can cause blue baby syndrome.  Nitrate levels

may rise quickly for short periods of time because of rainfall or agricultural activity.  If you are caring for an infant you should ask advice from your health provider.

6) Gross Alpha: Action level over 5 pCi/L requires testing for Radium. Action level over 15 pCi/L requires testing for Radon and Uranium.

7) Uranium: The U.S. EPA adopted the new MCL standard of 30 ug/L(ppb), in December 2000. Water systems must meet this new standard after December 2003.

8) Radon: The State of Maine adopted a maximum Exposure Guideline (MEG) for Radon in drinking water at 4000 pCi/L, effective 1/1/2007.  If Radon exceeds the MEG in water, treatment is

recommended.  It is also advisable to test indoor air for Radon.  The U.S. EPA is proposing setting federal standards for Radon in public drinking water.

9) TTHM/HAA5: Total Trihalomethanes and Haloacetic Acids (TTHM and HAA5) are formed as a by-product of drinking water chlorination. This chemical reaction occurs	when chlorine combines

with naturally organic matter in water.

All other regulated drinking water contaminants were below detection levels.

Secondary Contaminants:

Chloride	16 ppm		9/11/2008		Magnesium         4.8ppm       9/11/2008

Sodium	12 ppm		9/11/2008		Manganese        0.041ppm     9/11/2008